## GENER
Plant Report_AJUNTAMENT DE CORBINS
Statistical Period | Total String Capacity (kWp) | Global Irradiation (kWh/㎡) | Sun Hours (H) | Average Temperature(°C) | Theoretical Yield (kWh) | PV Yield (kWh) | Inverter Yield (kWh) | Total Yield (kWh) | Specific Energy (kWh/kWp) | Loss Due to Export Limitation (kWh) | Loss Due to Export Limitation(€) | Self-consumption (kWh) | Peak Power (kW) | Performance Ratio(%) | CO₂ Avoided (t) | Standard Coal Saved (t) | Charge (kWh) | Discharge (kWh) | Revenue (€)
2026-01-01 | 31.28 |  |  |  |  | 30.66 | 30.66 | 16645.05 | 0.98 |  |  |  | 7.576 |  | 0.015 | 0.012 |  |  | 2.14
2026-01-02 | 31.28 |  |  |  |  | 8.9 | 8.9 | 16653.95 | 0.285 |  |  |  | 2.115 |  | 0.004 | 0.004 |  |  | 0.63
2026-01-03 | 31.28 |  |  |  |  | 46.21 | 46.21 | 16700.16 | 1.477 |  |  |  | 15.956 |  | 0.022 | 0.018 |  |  | 3.24
2026-01-04 | 31.28 |  |  |  |  | 10.9 | 10.9 | 16711.06 | 0.348 |  |  |  | 3.695 |  | 0.005 | 0.004 |  |  | 0.76
2026-01-05 | 31.28 |  |  |  |  | 4.83 | 4.83 | 16715.89 | 0.154 |  |  |  | 1.683 |  | 0.002 | 0.002 |  |  | 0.33
2026-01-06 | 31.28 |  |  |  |  | 54.61 | 54.61 | 16770.5 | 1.746 |  |  |  | 13.742 |  | 0.026 | 0.022 |  |  | 3.82
2026-01-07 | 31.28 |  |  |  |  | 46.06 | 46.06 | 16816.56 | 1.473 |  |  |  | 15.767 |  | 0.022 | 0.018 |  |  | 3.22
2026-01-08 | 31.28 |  |  |  |  | 54.96 | 54.96 | 16871.52 | 1.757 |  |  |  | 13.226 |  | 0.026 | 0.022 |  |  | 3.85
2026-01-09 | 31.28 |  |  |  |  | 53.2 | 53.2 | 16924.72 | 1.701 |  |  |  | 13.874 |  | 0.025 | 0.021 |  |  | 3.71
2026-01-10 | 31.28 |  |  |  |  | 59.45 | 59.45 | 16984.17 | 1.901 |  |  |  | 14.396 |  | 0.028 | 0.024 |  |  | 4.16
2026-01-11 | 31.28 |  |  |  |  | 57.39 | 57.39 | 17041.56 | 1.835 |  |  |  | 14.007 |  | 0.027 | 0.023 |  |  | 4.02
2026-01-12 | 31.28 |  |  |  |  | 45.14 | 45.14 | 17086.7 | 1.443 |  |  |  | 11.386 |  | 0.021 | 0.018 |  |  | 3.15
2026-01-13 | 31.28 |  |  |  |  | 39.83 | 39.83 | 17126.53 | 1.273 |  |  |  | 11.72 |  | 0.019 | 0.016 |  |  | 2.79
2026-01-14 | 31.28 |  |  |  |  | 48.57 | 48.57 | 17175.1 | 1.553 |  |  |  | 12.503 |  | 0.023 | 0.019 |  |  | 3.39
2026-01-15 | 31.28 |  |  |  |  | 22.69 | 22.69 | 17197.79 | 0.725 |  |  |  | 5.288 |  | 0.011 | 0.009 |  |  | 1.58
2026-01-16 | 31.28 |  |  |  |  | 44.12 | 44.12 | 17241.91 | 1.41 |  |  |  | 14.706 |  | 0.021 | 0.018 |  |  | 3.08
2026-01-17 | 31.28 |  |  |  |  | 5.98 | 5.98 | 17247.89 | 0.191 |  |  |  | 2.97 |  | 0.003 | 0.002 |  |  | 0.41
2026-01-18 | 31.28 |  |  |  |  | 26 | 26 | 17273.89 | 0.831 |  |  |  | 7.57 |  | 0.012 | 0.01 |  |  | 1.83
2026-01-19 | 31.28 |  |  |  |  | 23.82 | 23.82 | 17297.71 | 0.762 |  |  |  | 7.08 |  | 0.011 | 0.01 |  |  | 1.67
2026-01-20 | 31.28 |  |  |  |  | 15.77 | 15.77 | 17313.48 | 0.504 |  |  |  | 3.789 |  | 0.007 | 0.006 |  |  | 1.1
2026-01-21 | 31.28 |  |  |  |  | 53.8 | 53.8 | 17367.28 | 1.72 |  |  |  | 19.498 |  | 0.026 | 0.022 |  |  | 3.77
2026-01-22 | 31.28 |  |  |  |  | 58.1 | 58.1 | 17425.38 | 1.857 |  |  |  | 15.383 |  | 0.028 | 0.023 |  |  | 4.08
2026-01-23 | 31.28 |  |  |  |  | 65.82 | 65.82 | 17491.2 | 2.104 |  |  |  | 15.245 |  | 0.031 | 0.026 |  |  | 4.61
2026-01-24 | 31.28 |  |  |  |  | 9.27 | 9.27 | 17500.47 | 0.296 |  |  |  | 2.167 |  | 0.004 | 0.004 |  |  | 0.64
2026-01-25 | 31.28 |  |  |  |  | 56.82 | 56.82 | 17557.29 | 1.816 |  |  |  | 18.672 |  | 0.027 | 0.023 |  |  | 3.98
2026-01-26 | 31.28 |  |  |  |  | 52.38 | 52.38 | 17609.67 | 1.675 |  |  |  | 12.807 |  | 0.025 | 0.021 |  |  | 3.67
2026-01-27 | 31.28 |  |  |  |  | 20.38 | 20.38 | 17630.05 | 0.652 |  |  |  | 7.175 |  | 0.01 | 0.008 |  |  | 1.44
2026-01-28 | 31.28 |  |  |  |  | 21.28 | 21.28 | 17651.33 | 0.68 |  |  |  | 6.517 |  | 0.01 | 0.009 |  |  | 1.48
2026-01-29 | 31.28 |  |  |  |  | 37.96 | 37.96 | 17689.29 | 1.214 |  |  |  | 17.487 |  | 0.018 | 0.015 |  |  | 2.66
2026-01-30 | 31.28 |  |  |  |  | 68.51 | 68.51 | 17757.8 | 2.19 |  |  |  | 16.231 |  | 0.033 | 0.027 |  |  | 4.79
2026-01-31 | 31.28 |  |  |  |  | 76.78 | 76.78 | 17834.58 | 2.455 |  |  |  | 16.781 |  | 0.036 | 0.031 |  |  | 5.37

## FEBRER
Plant Report_AJUNTAMENT DE CORBINS
Statistical Period | Total String Capacity (kWp) | Global Irradiation (kWh/㎡) | Sun Hours (H) | Average Temperature(°C) | Theoretical Yield (kWh) | PV Yield (kWh) | Inverter Yield (kWh) | Total Yield (kWh) | Specific Energy (kWh/kWp) | Loss Due to Export Limitation (kWh) | Loss Due to Export Limitation(€) | Self-consumption (kWh) | Peak Power (kW) | Performance Ratio(%) | CO₂ Avoided (t) | Standard Coal Saved (t) | Charge (kWh) | Discharge (kWh) | Revenue (€)
2026-02-01 | 31.28 |  |  |  |  | 49.66 | 49.66 | 17884.24 | 1.588 |  |  |  | 17.623 |  | 0.024 | 0.02 |  |  | 3.47
2026-02-02 | 31.28 |  |  |  |  | 33.44 | 33.44 | 17917.68 | 1.069 |  |  |  | 19.982 |  | 0.016 | 0.013 |  |  | 2.32
2026-02-03 | 31.28 |  |  |  |  | 66.69 | 66.69 | 17984.37 | 2.132 |  |  |  | 17.757 |  | 0.032 | 0.027 |  |  | 4.68
2026-02-04 | 31.28 |  |  |  |  | 53.68 | 53.68 | 18038.05 | 1.716 |  |  |  | 19.096 |  | 0.025 | 0.021 |  |  | 3.76
2026-02-05 | 31.28 |  |  |  |  | 29.4 | 29.4 | 18067.45 | 0.94 |  |  |  | 13.651 |  | 0.014 | 0.012 |  |  | 2.06
2026-02-06 | 31.28 |  |  |  |  | 78.27 | 78.27 | 18145.72 | 2.502 |  |  |  | 18.328 |  | 0.037 | 0.031 |  |  | 5.48
2026-02-07 | 31.28 |  |  |  |  | 85.95 | 85.95 | 18231.67 | 2.748 |  |  |  | 18.459 |  | 0.041 | 0.034 |  |  | 6.02
2026-02-08 | 31.28 |  |  |  |  | 68.95 | 68.95 | 18300.62 | 2.204 |  |  |  | 23.62 |  | 0.033 | 0.028 |  |  | 4.83
2026-02-09 | 31.28 |  |  |  |  | 71.78 | 71.78 | 18372.4 | 2.295 |  |  |  | 22.238 |  | 0.034 | 0.029 |  |  | 5.02
2026-02-10 | 31.28 |  |  |  |  | 65.4 | 65.4 | 18437.8 | 2.091 |  |  |  | 22.191 |  | 0.031 | 0.026 |  |  | 4.58
2026-02-11 | 31.28 |  |  |  |  | 54.68 | 54.68 | 18492.48 | 1.748 |  |  |  | 20.451 |  | 0.026 | 0.022 |  |  | 3.83
2026-02-12 | 31.28 |  |  |  |  | 94.52 | 94.52 | 18587 | 3.022 |  |  |  | 19.475 |  | 0.045 | 0.038 |  |  | 6.63
2026-02-13 | 31.28 |  |  |  |  | 7.99 | 7.99 | 18594.99 | 0.255 |  |  |  | 1.809 |  | 0.004 | 0.003 |  |  | 0.56
2026-02-14 | 31.28 |  |  |  |  | 97.35 | 97.35 | 18692.34 | 3.112 |  |  |  | 19.726 |  | 0.046 | 0.039 |  |  | 6.79
2026-02-15 | 31.28 |  |  |  |  | 85.08 | 85.08 | 18777.42 | 2.72 |  |  |  | 19.528 |  | 0.04 | 0.034 |  |  | 5.97
2026-02-16 | 31.28 |  |  |  |  | 69.23 | 69.23 | 18846.65 | 2.213 |  |  |  | 18.929 |  | 0.033 | 0.028 |  |  | 4.83
2026-02-17 | 31.28 |  |  |  |  | 97.69 | 97.69 | 18944.34 | 3.123 |  |  |  | 19.675 |  | 0.046 | 0.039 |  |  | 6.85
2026-02-18 | 31.28 |  |  |  |  | 91 | 91 | 19035.34 | 2.909 |  |  |  | 20.42 |  | 0.043 | 0.036 |  |  | 6.37
2026-02-19 | 31.28 |  |  |  |  | 103.23 | 103.23 | 19138.57 | 3.3 |  |  |  | 20.385 |  | 0.049 | 0.041 |  |  | 7.22
2026-02-20 | 31.28 |  |  |  |  | 90.73 | 90.73 | 19229.3 | 2.901 |  |  |  | 18.714 |  | 0.043 | 0.036 |  |  | 6.34
2026-02-21 | 31.28 |  |  |  |  | 103.44 | 103.44 | 19332.74 | 3.307 |  |  |  | 19.96 |  | 0.049 | 0.041 |  |  | 7.25
2026-02-22 | 31.28 |  |  |  |  | 103.07 | 103.07 | 19435.81 | 3.295 |  |  |  | 19.968 |  | 0.049 | 0.041 |  |  | 7.21
2026-02-23 | 31.28 |  |  |  |  | 104.14 | 104.14 | 19539.95 | 3.329 |  |  |  | 19.854 |  | 0.049 | 0.042 |  |  | 7.3
2026-02-24 | 31.28 |  |  |  |  | 97.81 | 97.81 | 19637.76 | 3.127 |  |  |  | 18.18 |  | 0.046 | 0.039 |  |  | 6.84
2026-02-25 | 31.28 |  |  |  |  | 99.14 | 99.14 | 19736.9 | 3.169 |  |  |  | 21.127 |  | 0.047 | 0.04 |  |  | 6.94
2026-02-26 | 31.28 |  |  |  |  | 106.56 | 106.56 | 19843.46 | 3.407 |  |  |  | 19.916 |  | 0.051 | 0.043 |  |  | 7.46
2026-02-27 | 31.28 |  |  |  |  | 107.84 | 107.84 | 19951.3 | 3.448 |  |  |  | 21.901 |  | 0.051 | 0.043 |  |  | 7.55
2026-02-28 | 31.28 |  |  |  |  | 20.02 | 20.02 | 19971.32 | 0.64 |  |  |  | 4.729 |  | 0.01 | 0.008 |  |  | 1.39

## MARÇ
Plant Report_AJUNTAMENT DE CORBINS
Statistical Period | Total String Capacity (kWp) | Global Irradiation (kWh/㎡) | Sun Hours (H) | Average Temperature(°C) | Theoretical Yield (kWh) | PV Yield (kWh) | Inverter Yield (kWh) | Total Yield (kWh) | Specific Energy (kWh/kWp) | Loss Due to Export Limitation (kWh) | Loss Due to Export Limitation(€) | Self-consumption (kWh) | Peak Power (kW) | Performance Ratio(%) | CO₂ Avoided (t) | Standard Coal Saved (t) | Charge (kWh) | Discharge (kWh) | Revenue (€)
2026-03-01 | 31.28 |  |  |  |  | 78.48 | 78.48 | 20049.8 | 2.509 |  |  |  | 21.399 |  | 0.037 | 0.031 |  |  | 5.5
2026-03-02 | 31.28 |  |  |  |  | 90.5 | 90.5 | 20140.3 | 2.893 |  |  |  | 24.212 |  | 0.043 | 0.036 |  |  | 6.34
2026-03-03 | 31.28 |  |  |  |  | 63.39 | 63.39 | 20203.69 | 2.027 |  |  |  | 16.706 |  | 0.03 | 0.025 |  |  | 4.44
2026-03-04 | 31.28 |  |  |  |  | 64.23 | 64.23 | 20267.92 | 2.053 |  |  |  | 18.654 |  | 0.031 | 0.026 |  |  | 4.5
2026-03-05 | 31.28 |  |  |  |  | 0 | 0 | 20267.92 | 0 |  |  |  | 0 |  | 0 | 0