## GENER
Plant Report_AJUNTAMENT DE CORBINS
Statistical Period | Total String Capacity (kWp) | Global Irradiation (kWh/㎡) | Sun Hours (H) | Average Temperature(°C) | Theoretical Yield (kWh) | PV Yield (kWh) | Inverter Yield (kWh) | Total Yield (kWh) | Specific Energy (kWh/kWp) | Loss Due to Export Limitation (kWh) | Loss Due to Export Limitation(€) | Self-consumption (kWh) | Peak Power (kW) | Performance Ratio(%) | CO₂ Avoided (t) | Standard Coal Saved (t) | Charge (kWh) | Discharge (kWh) | Revenue (€)
2026-01-01 | 31.28 |  |  |  |  | 30.66 | 30.66 | 16645.05 | 0.98 |  |  |  | 7.576 |  | 0.015 | 0.012 |  |  | 2.14
2026-01-02 | 31.28 |  |  |  |  | 8.9 | 8.9 | 16653.95 | 0.285 |  |  |  | 2.115 |  | 0.004 | 0.004 |  |  | 0.63
2026-01-03 | 31.28 |  |  |  |  | 46.21 | 46.21 | 16700.16 | 1.477 |  |  |  | 15.956 |  | 0.022 | 0.018 |  |  | 3.24
2026-01-04 | 31.28 |  |  |  |  | 10.9 | 10.9 | 16711.06 | 0.348 |  |  |  | 3.695 |  | 0.005 | 0.004 |  |  | 0.76
2026-01-05 | 31.28 |  |  |  |  | 4.83 | 4.83 | 16715.89 | 0.154 |  |  |  | 1.683 |  | 0.002 | 0.002 |  |  | 0.33
2026-01-06 | 31.28 |  |  |  |  | 54.61 | 54.61 | 16770.5 | 1.746 |  |  |  | 13.742 |  | 0.026 | 0.022 |  |  | 3.82
2026-01-07 | 31.28 |  |  |  |  | 46.06 | 46.06 | 16816.56 | 1.473 |  |  |  | 15.767 |  | 0.022 | 0.018 |  |  | 3.22
2026-01-08 | 31.28 |  |  |  |  | 54.96 | 54.96 | 16871.52 | 1.757 |  |  |  | 13.226 |  | 0.026 | 0.022 |  |  | 3.85
2026-01-09 | 31.28 |  |  |  |  | 53.2 | 53.2 | 16924.72 | 1.701 |  |  |  | 13.874 |  | 0.025 | 0.021 |  |  | 3.71
2026-01-10 | 31.28 |  |  |  |  | 59.45 | 59.45 | 16984.17 | 1.901 |  |  |  | 14.396 |  | 0.028 | 0.024 |  |  | 4.16
2026-01-11 | 31.28 |  |  |  |  | 57.39 | 57.39 | 17041.56 | 1.835 |  |  |  | 14.007 |  | 0.027 | 0.023 |  |  | 4.02
2026-01-12 | 31.28 |  |  |  |  | 45.14 | 45.14 | 17086.7 | 1.443 |  |  |  | 11.386 |  | 0.021 | 0.018 |  |  | 3.15
2026-01-13 | 31.28 |  |  |  |  | 39.83 | 39.83 | 17126.53 | 1.273 |  |  |  | 11.72 |  | 0.019 | 0.016 |  |  | 2.79
2026-01-14 | 31.28 |  |  |  |  | 48.57 | 48.57 | 17175.1 | 1.553 |  |  |  | 12.503 |  | 0.023 | 0.019 |  |  | 3.39
2026-01-15 | 31.28 |  |  |  |  | 22.69 | 22.69 | 17197.79 | 0.725 |  |  |  | 5.288 |  | 0.011 | 0.009 |  |  | 1.58
2026-01-16 | 31.28 |  |  |  |  | 44.12 | 44.12 | 17241.91 | 1.41 |  |  |  | 14.706 |  | 0.021 | 0.018 |  |  | 3.08
2026-01-17 | 31.28 |  |  |  |  | 5.98 | 5.98 | 17247.89 | 0.191 |  |  |  | 2.97 |  | 0.003 | 0.002 |  |  | 0.41
2026-01-18 | 31.28 |  |  |  |  | 26 | 26 | 17273.89 | 0.831 |  |  |  | 7.57 |  | 0.012 | 0.01 |  |  | 1.83
2026-01-19 | 31.28 |  |  |  |  | 23.82 | 23.82 | 17297.71 | 0.762 |  |  |  | 7.08 |  | 0.011 | 0.01 |  |  | 1.67
2026-01-20 | 31.28 |  |  |  |  | 15.77 | 15.77 | 17313.48 | 0.504 |  |  |  | 3.789 |  | 0.007 | 0.006 |  |  | 1.1
2026-01-21 | 31.28 |  |  |  |  | 53.8 | 53.8 | 17367.28 | 1.72 |  |  |  | 19.498 |  | 0.026 | 0.022 |  |  | 3.77
2026-01-22 | 31.28 |  |  |  |  | 58.1 | 58.1 | 17425.38 | 1.857 |  |  |  | 15.383 |  | 0.028 | 0.023 |  |  | 4.08
2026-01-23 | 31.28 |  |  |  |  | 65.82 | 65.82 | 17491.2 | 2.104 |  |  |  | 15.245 |  | 0.031 | 0.026 |  |  | 4.61
2026-01-24 | 31.28 |  |  |  |  | 9.27 | 9.27 | 17500.47 | 0.296 |  |  |  | 2.167 |  | 0.004 | 0.004 |  |  | 0.64
2026-01-25 | 31.28 |  |  |  |  | 56.82 | 56.82 | 17557.29 | 1.816 |  |  |  | 18.672 |  | 0.027 | 0.023 |  |  | 3.98
2026-01-26 | 31.28 |  |  |  |  | 52.38 | 52.38 | 17609.67 | 1.675 |  |  |  | 12.807 |  | 0.025 | 0.021 |  |  | 3.67
2026-01-27 | 31.28 |  |  |  |  | 20.38 | 20.38 | 17630.05 | 0.652 |  |  |  | 7.175 |  | 0.01 | 0.008 |  |  | 1.44
2026-01-28 | 31.28 |  |  |  |  | 21.28 | 21.28 | 17651.33 | 0.68 |  |  |  | 6.517 |  | 0.01 | 0.009 |  |  | 1.48
2026-01-29 | 31.28 |  |  |  |  | 37.96 | 37.96 | 17689.29 | 1.214 |  |  |  | 17.487 |  | 0.018 | 0.015 |  |  | 2.66
2026-01-30 | 31.28 |  |  |  |  | 68.51 | 68.51 | 17757.8 | 2.19 |  |  |  | 16.231 |  | 0.033 | 0.027 |  |  | 4.79
2026-01-31 | 31.28 |  |  |  |  | 76.78 | 76.78 | 17834.58 | 2.455 |  |  |  | 16.781 |  | 0.036 | 0.031 |  |  | 5.37

## FEBRER
Plant Report_AJUNTAMENT DE CORBINS
Statistical Period | Total String Capacity (kWp) | Global Irradiation (kWh/㎡) | Sun Hours (H) | Average Temperature(°C) | Theoretical Yield (kWh) | PV Yield (kWh) | Inverter Yield (kWh) | Total Yield (kWh) | Specific Energy (kWh/kWp) | Loss Due to Export Limitation (kWh) | Loss Due to Export Limitation(€) | Self-consumption (kWh) | Peak Power (kW) | Performance Ratio(%) | CO₂ Avoided (t) | Standard Coal Saved (t) | Charge (kWh) | Discharge (kWh) | Revenue (€)
2026-02-01 | 31.28 |  |  |  |  | 49.66 | 49.66 | 17884.24 | 1.588 |  |  |  | 17.623 |  | 0.024 | 0.02 |  |  | 3.47
2026-02-02 | 31.28 |  |  |  |  | 33.44 | 33.44 | 17917.68 | 1.069 |  |  |  | 19.982 |  | 0.016 | 0.013 |  |  | 2.32
2026-02-03 | 31.28 |  |  |  |  | 66.69 | 66.69 | 17984.37 | 2.132 |  |  |  | 17.757 |  | 0.032 | 0.027 |  |  | 4.68
2026-02-04 | 31.28 |  |  |  |  | 53.68 | 53.68 | 18038.05 | 1.716 |  |  |  | 19.096 |  | 0.025 | 0.021 |  |  | 3.76
2026-02-05 | 31.28 |  |  |  |  | 29.4 | 29.4 | 18067.45 | 0.94 |  |  |  | 13.651 |  | 0.014 | 0.012 |  |  | 2.06
2026-02-06 | 31.28 |  |  |  |  | 78.27 | 78.27 | 18145.72 | 2.502 |  |  |  | 18.328 |  | 0.037 | 0.031 |  |  | 5.48
2026-02-07 | 31.28 |  |  |  |  | 85.95 | 85.95 | 18231.67 | 2.748 |  |  |  | 18.459 |  | 0.041 | 0.034 |  |  | 6.02
2026-02-08 | 31.28 |  |  |  |  | 68.95 | 68.95 | 18300.62 | 2.204 |  |  |  | 23.62 |  | 0.033 | 0.028 |  |  | 4.83
2026-02-09 | 31.28 |  |  |  |  | 71.78 | 71.78 | 18372.4 | 2.295 |  |  |  | 22.238 |  | 0.034 | 0.029 |  |  | 5.02
2026-02-10 | 31.28 |  |  |  |  | 65.4 | 65.4 | 18437.8 | 2.091 |  |  |  | 22.191 |  | 0.031 | 0.026 |  |  | 4.58
2026-02-11 | 31.28 |  |  |  |  | 54.68 | 54.68 | 18492.48 | 1.748 |  |  |  | 20.451 |  | 0.026 | 0.022 |  |  | 3.83
2026-02-12 | 31.28 |  |  |  |  | 94.52 | 94.52 | 18587 | 3.022 |  |  |  | 19.475 |  | 0.045 | 0.038 |  |  | 6.63
2026-02-13 | 31.28 |  |  |  |  | 7.99 | 7.99 | 18594.99 | 0.255 |  |  |  | 1.809 |  | 0.004 | 0.003 |  |  | 0.56
2026-02-14 | 31.28 |  |  |  |  | 97.35 | 97.35 | 18692.34 | 3.112 |  |  |  | 19.726 |  | 0.046 | 0.039 |  |  | 6.79
2026-02-15 | 31.28 |  |  |  |  | 85.08 | 85.08 | 18777.42 | 2.72 |  |  |  | 19.528 |  | 0.04 | 0.034 |  |  | 5.97
2026-02-16 | 31.28 |  |  |  |  | 69.23 | 69.23 | 18846.65 | 2.213 |  |  |  | 18.929 |  | 0.033 | 0.028 |  |  | 4.83
2026-02-17 | 31.28 |  |  |  |  | 97.69 | 97.69 | 18944.34 | 3.123 |  |  |  | 19.675 |  | 0.046 | 0.039 |  |  | 6.85
2026-02-18 | 31.28 |  |  |  |  | 91 | 91 | 19035.34 | 2.909 |  |  |  | 20.42 |  | 0.043 | 0.036 |  |  | 6.37
2026-02-19 | 31.28 |  |  |  |  | 103.23 | 103.23 | 19138.57 | 3.3 |  |  |  | 20.385 |  | 0.049 | 0.041 |  |  | 7.22
2026-02-20 | 31.28 |  |  |  |  | 90.73 | 90.73 | 19229.3 | 2.901 |  |  |  | 18.714 |  | 0.043 | 0.036 |  |  | 6.34
2026-02-21 | 31.28 |  |  |  |  | 103.44 | 103.44 | 19332.74 | 3.307 |  |  |  | 19.96 |  | 0.049 | 0.041 |  |  | 7.25
2026-02-22 | 31.28 |  |  |  |  | 103.07 | 103.07 | 19435.81 | 3.295 |  |  |  | 19.968 |  | 0.049 | 0.041 |  |  | 7.21
2026-02-23 | 31.28 |  |  |  |  | 104.14 | 104.14 | 19539.95 | 3.329 |  |  |  | 19.854 |  | 0.049 | 0.042 |  |  | 7.3
2026-02-24 | 31.28 |  |  |  |  | 97.81 | 97.81 | 19637.76 | 3.127 |  |  |  | 18.18 |  | 0.046 | 0.039 |  |  | 6.84
2026-02-25 | 31.28 |  |  |  |  | 99.14 | 99.14 | 19736.9 | 3.169 |  |  |  | 21.127 |  | 0.047 | 0.04 |  |  | 6.94
2026-02-26 | 31.28 |  |  |  |  | 106.56 | 106.56 | 19843.46 | 3.407 |  |  |  | 19.916 |  | 0.051 | 0.043 |  |  | 7.46
2026-02-27 | 31.28 |  |  |  |  | 107.84 | 107.84 | 19951.3 | 3.448 |  |  |  | 21.901 |  | 0.051 | 0.043 |  |  | 7.55
2026-02-28 | 31.28 |  |  |  |  | 20.02 | 20.02 | 19971.32 | 0.64 |  |  |  | 4.729 |  | 0.01 | 0.008 |  |  | 1.39

## MARÇ
Plant Report_AJUNTAMENT DE CORBINS
Statistical Period | Total String Capacity (kWp) | Global Irradiation (kWh/㎡) | Sun Hours (H) | Average Temperature(°C) | Theoretical Yield (kWh) | PV Yield (kWh) | Inverter Yield (kWh) | Total Yield (kWh) | Specific Energy (kWh/kWp) | Loss Due to Export Limitation (kWh) | Loss Due to Export Limitation(€) | Self-consumption (kWh) | Peak Power (kW) | Performance Ratio(%) | CO₂ Avoided (t) | Standard Coal Saved (t) | Charge (kWh) | Discharge (kWh) | Revenue (€)
2026-03-01 | 31.28 |  |  |  |  | 78.48 | 78.48 | 20049.8 | 2.509 |  |  |  | 21.399 |  | 0.037 | 0.031 |  |  | 5.5
2026-03-02 | 31.28 |  |  |  |  | 90.5 | 90.5 | 20140.3 | 2.893 |  |  |  | 24.212 |  | 0.043 | 0.036 |  |  | 6.34
2026-03-03 | 31.28 |  |  |  |  | 63.39 | 63.39 | 20203.69 | 2.027 |  |  |  | 16.706 |  | 0.03 | 0.025 |  |  | 4.44
2026-03-04 | 31.28 |  |  |  |  | 64.23 | 64.23 | 20267.92 | 2.053 |  |  |  | 18.654 |  | 0.031 | 0.026 |  |  | 4.5
2026-03-05 | 31.28 |  |  |  |  | 18.74 | 18.74 | 20286.66 | 0.599 |  |  |  | 3.994 |  | 0.009 | 0.007 |  |  | 1.31
2026-03-06 | 31.28 |  |  |  |  | 19.04 | 19.04 | 20305.7 | 0.609 |  |  |  | 4.363 |  | 0.009 | 0.008 |  |  | 1.33
2026-03-07 | 31.28 |  |  |  |  | 43.57 | 43.57 | 20349.27 | 1.393 |  |  |  | 21.827 |  | 0.021 | 0.017 |  |  | 3.02
2026-03-08 | 31.28 |  |  |  |  | 93.62 | 93.62 | 20442.89 | 2.993 |  |  |  | 25.887 |  | 0.044 | 0.037 |  |  | 6.56
2026-03-09 | 31.28 |  |  |  |  | 123.55 | 123.55 | 20566.44 | 3.95 |  |  |  | 24.731 |  | 0.059 | 0.049 |  |  | 8.64
2026-03-10 | 31.28 |  |  |  |  | 101.51 | 101.51 | 20667.95 | 3.245 |  |  |  | 17.569 |  | 0.048 | 0.041 |  |  | 7.11
2026-03-11 | 31.28 |  |  |  |  | 94.87 | 94.87 | 20762.82 | 3.033 |  |  |  | 20.427 |  | 0.045 | 0.038 |  |  | 6.64
2026-03-12 | 31.28 |  |  |  |  | 104.42 | 104.42 | 20867.24 | 3.338 |  |  |  | 26.861 |  | 0.05 | 0.042 |  |  | 7.31
2026-03-13 | 31.28 |  |  |  |  | 129.77 | 129.77 | 20997.01 | 4.149 |  |  |  | 21.461 |  | 0.062 | 0.052 |  |  | 9.08
2026-03-14 | 31.28 |  |  |  |  | 122.98 | 122.98 | 21119.99 | 3.932 |  |  |  | 24.064 |  | 0.058 | 0.049 |  |  | 8.59
2026-03-15 | 31.28 |  |  |  |  | 142.95 | 142.95 | 21262.94 | 4.57 |  |  |  | 23.538 |  | 0.068 | 0.057 |  |  | 10.01
2026-03-16 | 31.28 |  |  |  |  | 137.6 | 137.6 | 21400.54 | 4.399 |  |  |  | 23.435 |  | 0.065 | 0.055 |  |  | 9.62
2026-03-17 | 31.28 |  |  |  |  | 138.58 | 138.58 | 21539.12 | 4.43 |  |  |  | 22.297 |  | 0.066 | 0.055 |  |  | 9.72
2026-03-18 | 31.28 |  |  |  |  | 139.63 | 139.63 | 21678.75 | 4.464 |  |  |  | 22.283 |  | 0.066 | 0.056 |  |  | 9.76
2026-03-19 | 31.28 |  |  |  |  | 111.82 | 111.82 | 21790.57 | 3.575 |  |  |  | 24.188 |  | 0.053 | 0.045 |  |  | 7.83
2026-03-20 | 31.28 |  |  |  |  | 139.46 | 139.46 | 21930.03 | 4.458 |  |  |  | 22.72 |  | 0.066 | 0.056 |  |  | 9.77
2026-03-21 | 31.28 |  |  |  |  | 143.83 | 143.83 | 22073.86 | 4.598 |  |  |  | 22.856 |  | 0.068 | 0.058 |  |  | 10.06
2026-03-22 | 31.28 |  |  |  |  | 140.6 | 140.6 | 22214.46 | 4.495 |  |  |  | 22.159 |  | 0.067 | 0.056 |  |  | 9.84
2026-03-23 | 31.28 |  |  |  |  | 138.17 | 138.17 | 22352.63 | 4.417 |  |  |  | 22.538 |  | 0.066 | 0.055 |  |  | 9.66
2026-03-24 | 31.28 |  |  |  |  | 139.14 | 139.14 | 22491.77 | 4.448 |  |  |  | 22.311 |  | 0.066 | 0.056 |  |  | 9.74
2026-03-25 | 31.28 |  |  |  |  | 144.66 | 144.66 | 22636.43 | 4.625 |  |  |  | 22.764 |  | 0.069 | 0.058 |  |  | 10.12
2026-03-26 | 31.28 |  |  |  |  | 149.24 | 149.24 | 22785.67 | 4.771 |  |  |  | 23.797 |  | 0.071 | 0.06 |  |  | 10.46
2026-03-27 | 31.28 |  |  |  |  | 111.16 | 111.16 | 22896.83 | 3.554 |  |  |  | 17.298 |  | 0.053 | 0.044 |  |  | 7.79
2026-03-28 | 31.28 |  |  |  |  | 143.72 | 143.72 | 23040.55 | 4.595 |  |  |  | 23.651 |  | 0.068 | 0.057 |  |  | 10.05
2026-03-29 | 31.28 |  |  |  |  | 161.92 | 161.92 | 23202.47 | 5.176 |  |  |  | 24.425 |  | 0.077 | 0.065 |  |  | 11.31
2026-03-30 | 31.28 |  |  |  |  | 143.92 | 143.92 | 23346.39 | 4.601 |  |  |  | 26.586 |  | 0.068 | 0.058 |  |  | 10.08
2026-03-31 | 31.28 |  |  |  |  | 152.48 | 152.48 | 23498.87 | 4.875 |  |  |  | 24.359 |  | 0.072 | 0.061 |  |  | 10.69

## ABRIL
Plant Report_AJUNTAMENT DE CORBINS
Statistical Period | Total String Capacity (kWp) | Global Irradiation (kWh/㎡) | Sun Hours (H) | Average Temperature(°C) | Theoretical Yield (kWh) | PV Yield (kWh) | Inverter Yield (kWh) | Total Yield (kWh) | Specific Energy (kWh/kWp) | Loss Due to Export Limitation (kWh) | Loss Due to Export Limitation(€) | Self-consumption (kWh) | Peak Power (kW) | Performance Ratio(%) | CO₂ Avoided (t) | Standard Coal Saved (t) | Charge (kWh) | Discharge (kWh) | Revenue (€)
2026-04-01 | 31.28 |  |  |  |  | 145.84 | 145.84 | 23644.71 | 4.662 |  |  |  | 28.984 |  | 0.069 | 0.058 |  |  | 10.21
2026-04-02 | 31.28 |  |  |  |  | 78.61 | 78.61 | 23723.32 | 2.513 |  |  |  | 18.721 |  | 0.037 | 0.031 |  |  | 5.49
2026-04-03 | 31.28 |  |  |  |  | 157.37 | 157.37 | 23880.69 | 5.031 |  |  |  | 23.921 |  | 0.075 | 0.063 |  |  | 11.02
2026-04-04 | 31.28 |  |  |  |  | 155.56 | 155.56 | 24036.25 | 4.973 |  |  |  | 22.777 |  | 0.074 | 0.062 |  |  | 10.87
2026-04-05 | 31.28 |  |  |  |  | 154.53 | 154.53 | 24190.78 | 4.94 |  |  |  | 22.794 |  | 0.073 | 0.062 |  |  | 10.79
2026-04-06 | 31.28 |  |  |  |  | 155.9 | 155.9 | 24346.68 | 4.984 |  |  |  | 22.77 |  | 0.074 | 0.062 |  |  | 10.91
2026-04-07 | 31.28 |  |  |  |  | 156.84 | 156.84 | 24503.52 | 5.014 |  |  |  | 23.164 |  | 0.074 | 0.063 |  |  | 10.97
2026-04-08 | 31.28 |  |  |  |  | 147.53 | 147.53 | 24651.05 | 4.716 |  |  |  | 24.766 |  | 0.07 | 0.059 |  |  | 10.32
2026-04-09 | 31.28 |  |  |  |  | 150.49 | 150.49 | 24801.54 | 4.811 |  |  |  | 23.525 |  | 0.071 | 0.06 |  |  | 10.52
2026-04-10 | 31.28 |  |  |  |  | 152.1 | 152.1 | 24953.64 | 4.863 |  |  |  | 22.032 |  | 0.072 | 0.061 |  |  | 10.64
2026-04-11 | 31.28 |  |  |  |  | 90.98 | 90.98 | 25044.62 | 2.909 |  |  |  | 22.148 |  | 0.043 | 0.036 |  |  | 6.37
2026-04-12 | 31.28 |  |  |  |  | 26.98 | 26.98 | 25071.6 | 0.863 |  |  |  | 6.149 |  | 0.013 | 0.011 |  |  | 1.87
2026-04-13 | 31.28 |  |  |  |  | 172.98 | 172.98 | 25244.58 | 5.53 |  |  |  | 25.122 |  | 0.082 | 0.069 |  |  | 12.12
2026-04-14 | 31.28 |  |  |  |  | 180.41 | 180.41 | 25424.99 | 5.768 |  |  |  | 25.005 |  | 0.086 | 0.072 |  |  | 12.63
2026-04-15 | 31.28 |  |  |  |  | 174.81 | 174.81 | 25599.8 | 5.589 |  |  |  | 24.094 |  | 0.083 | 0.07 |  |  | 12.24
2026-04-16 | 31.28 |  |  |  |  | 171.08 | 171.08 | 25770.88 | 5.469 |  |  |  | 23.622 |  | 0.081 | 0.068 |  |  | 11.99
2026-04-17 | 31.28 |  |  |  |  | 162.53 | 162.53 | 25933.41 | 5.196 |  |  |  | 23.61 |  | 0.077 | 0.065 |  |  | 11.37
2026-04-18 | 31.28 |  |  |  |  | 154 | 154 | 26087.41 | 4.923 |  |  |  | 26.906 |  | 0.073 | 0.062 |  |  | 10.76
2026-04-19 | 31.28 |  |  |  |  | 167.53 | 167.53 | 26254.94 | 5.356 |  |  |  | 23.706 |  | 0.08 | 0.067 |  |  | 11.71
2026-04-20 | 31.28 |  |  |  |  | 161 | 161 | 26415.94 | 5.147 |  |  |  | 24.531 |  | 0.076 | 0.064 |  |  | 11.27
2026-04-21 | 31.28 |  |  |  |  | 164.79 | 164.79 | 26580.73 | 5.268 |  |  |  | 23.537 |  | 0.078 | 0.066 |  |  | 11.53
2026-04-22 | 31.28 |  |  |  |  | 163.3 | 163.3 | 26744.03 | 5.221 |  |  |  | 24.516 |  | 0.078 | 0.065 |  |  | 11.44
2026-04-23 | 31.28 |  |  |  |  | 162.84 | 162.84 | 26906.87 | 5.206 |  |  |  | 26.834 |  | 0.077 | 0.065 |  |  | 11.4
2026-04-24 | 31.28 |  |  |  |  | 147.13 | 147.13 | 27054 | 4.704 |  |  |  | 24.275 |  | 0.07 | 0.059 |  |  | 10.31
2026-04-25 | 31.28 |  |  |  |  | 169.23 | 169.23 | 27223.23 | 5.41 |  |  |  | 23.192 |  | 0.08 | 0.068 |  |  | 11.84
2026-04-26 | 31.28 |  |  |  |  | 169.93 | 169.93 | 27393.16 | 5.433 |  |  |  | 23.187 |  | 0.081 | 0.068 |  |  | 11.89
2026-04-27 | 31.28 |  |  |  |  | 150.58 | 150.58 | 27543.74 | 4.814 |  |  |  | 24.578 |  | 0.072 | 0.06 |  |  | 10.56
2026-04-28 | 31.28 |  |  |  |  | 155.65 | 155.65 | 27699.39 | 4.976 |  |  |  | 25.157 |  | 0.074 | 0.062 |  |  | 10.89
2026-04-29 | 31.28 |  |  |  |  | 130.08 | 130.08 | 27829.47 | 4.159 |  |  |  | 28.531 |  | 0.062 | 0.052 |  |  | 9.08
2026-04-30 | 31.28 |  |  |  |  | 155.85 | 155.85 | 27985.32 | 4.982 |  |  |  | 30.203 |  | 0.074 | 0.062 |  |  | 10.9

## MAIG
Plant Report_AJUNTAMENT DE CORBINS
Statistical Period | Total String Capacity (kWp) | Global Irradiation (kWh/㎡) | Sun Hours (H) | Average Temperature(°C) | Theoretical Yield (kWh) | PV Yield (kWh) | Inverter Yield (kWh) | Total Yield (kWh) | Specific Energy (kWh/kWp) | Loss Due to Export Limitation (kWh) | Loss Due to Export Limitation(€) | Self-consumption (kWh) | Peak Power (kW) | Performance Ratio(%) | CO₂ Avoided (t) | Standard Coal Saved (t) | Charge (kWh) | Discharge (kWh) | Revenue (€)
2026-05-01 | 31.28 |  |  |  |  | 157.02 | 157.02 | 28142.34 | 5.02 |  |  |  | 26.351 |  | 0.075 | 0.063 |  |  | 10.99
2026-05-02 | 31.28 |  |  |  |  | 75.45 | 75.45 | 28217.79 | 2.412 |  |  |  | 25.651 |  | 0.036 | 0.03 |  |  | 5.3
2026-05-03 | 31.28 |  |  |  |  | 74.03 | 74.03 | 28291.82 | 2.367 |  |  |  | 23.675 |  | 0.035 | 0.03 |  |  | 5.19
2026-05-04 | 31.28 |  |  |  |  | 115.97 | 115.97 | 28407.79 | 3.707 |  |  |  | 27.476 |  | 0.055 | 0.046 |  |  | 8.12
2026-05-05 | 31.28 |  |  |  |  | 132.69 | 132.69 | 28540.48 | 4.242 |  |  |  | 31.49 |  | 0.063 | 0.053 |  |  | 9.28
2026-05-06 | 31.28 |  |  |  |  | 194.22 | 194.22 | 28734.7 | 6.209 |  |  |  | 29.768 |  | 0.092 | 0.078 |  |  | 13.6
2026-05-07 | 31.28 |  |  |  |  | 181.06 | 181.06 | 28915.76 | 5.788 |  |  |  | 25.555 |  | 0.086 | 0.072 |  |  | 12.67
2026-05-08 | 31.28 |  |  |  |  | 135.35 | 135.35 | 29051.11 | 4.327 |  |  |  | 27.386 |  | 0.064 | 0.054 |  |  | 9.48
2026-05-09 | 31.28 |  |  |  |  | 60.18 | 60.18 | 29111.29 | 1.924 |  |  |  | 11.084 |  | 0.029 | 0.024 |  |  | 4.22
2026-05-10 | 31.28 |  |  |  |  | 163.46 | 163.46 | 29274.75 | 5.226 |  |  |  | 29.151 |  | 0.078 | 0.065 |  |  | 11.43
2026-05-11 | 31.28 |  |  |  |  | 195.04 | 195.04 | 29469.79 | 6.235 |  |  |  | 28.623 |  | 0.093 | 0.078 |  |  | 13.64
2026-05-12 | 31.28 |  |  |  |  | 159.05 | 159.05 | 29628.84 | 5.085 |  |  |  | 27.798 |  | 0.076 | 0.064 |  |  | 11.15
2026-05-13 | 31.28 |  |  |  |  | 197.57 | 197.57 | 29826.41 | 6.316 |  |  |  | 29.498 |  | 0.094 | 0.079 |  |  | 13.83
2026-05-14 | 31.28 |  |  |  |  | 205.19 | 205.19 | 30031.6 | 6.56 |  |  |  | 27.097 |  | 0.097 | 0.082 |  |  | 14.35
2026-05-15 | 31.28 |  |  |  |  | 196.84 | 196.84 | 30228.44 | 6.293 |  |  |  | 26.699 |  | 0.093 | 0.079 |  |  | 13.78
2026-05-16 | 31.28 |  |  |  |  | 201.36 | 201.36 | 30429.8 | 6.437 |  |  |  | 29.432 |  | 0.096 | 0.081 |  |  | 14.1
2026-05-17 | 31.28 |  |  |  |  | 193.36 | 193.36 | 30623.16 | 6.182 |  |  |  | 25.385 |  | 0.092 | 0.077 |  |  | 13.53
2026-05-18 | 31.28 |  |  |  |  | 157.59 | 157.59 | 30780.75 | 5.038 |  |  |  | 27.199 |  | 0.075 | 0.063 |  |  | 11.01
2026-05-19 | 31.28 |  |  |  |  | 186.48 | 186.48 | 30967.23 | 5.962 |  |  |  | 26.41 |  | 0.089 | 0.075 |  |  | 13.04
2026-05-20 | 31.28 |  |  |  |  | 180.41 | 180.41 | 31147.64 | 5.768 |  |  |  | 24.243 |  | 0.086 | 0.072 |  |  | 12.65
2026-05-21 | 31.28 |  |  |  |  | 191.92 | 191.92 | 31339.56 | 6.136 |  |  |  | 24.107 |  | 0.091 | 0.077 |  |  | 13.45
2026-05-22 | 31.28 |  |  |  |  | 188.85 | 188.85 | 31528.41 | 6.037 |  |  |  | 23.729 |  | 0.09 | 0.076 |  |  | 13.22
2026-05-23 | 31.28 |  |  |  |  | 186.97 | 186.97 | 31715.38 | 5.977 |  |  |  | 23.726 |  | 0.089 | 0.075 |  |  | 13.06
2026-05-24 | 31.28 |  |  |  |  | 192.14 | 192.14 | 31907.52 | 6.143 |  |  |  | 23.951 |  | 0.091 | 0.077 |  |  | 13.45
2026-05-25 | 31.28 |  |  |  |  | 188.43 | 188.43 | 32095.95 | 6.024 |  |  |  | 23.55 |  | 0.09 | 0.075 |  |  | 13.17
2026-05-26 | 31.28 |  |  |  |  | 193.21 | 193.21 | 32289.16 | 6.177 |  |  |  | 24.1 |  | 0.092 | 0.077 |  |  | 13.51
2026-05-27 | 31.28 |  |  |  |  | 188.96 | 188.96 | 32478.12 | 6.041 |  |  |  | 23.739 |  | 0.09 | 0.076 |  |  | 13.22
2026-05-28 | 31.28 |  |  |  |  | 186.78 | 186.78 | 32664.9 | 5.971 |  |  |  | 23.328 |  | 0.089 | 0.075 |  |  | 13.07
2026-05-29 | 31.28 |  |  |  |  | 185.83 | 185.83 | 32850.73 | 5.941 |  |  |  | 23.086 |  | 0.088 | 0.074 |  |  | 13.01
2026-05-30 | 31.28 |  |  |  |  | 181.58 | 181.58 | 33032.31 | 5.805 |  |  |  | 23.893 |  | 0.086 | 0.073 |  |  | 12.71
2026-05-31 | 31.28 |  |  |  |  | 166.66 | 166.66 | 33198.97 | 5.328 |  |  |  | 23.686 |  | 0.079 | 0.067 |  |  | 11.67

## JUNY
Plant Report_AJUNTAMENT DE CORBINS
Statistical Period | Total String Capacity (kWp) | Global Irradiation (kWh/㎡) | Sun Hours (H) | Average Temperature(°C) | Theoretical Yield (kWh) | PV Yield (kWh) | Inverter Yield (kWh) | Total Yield (kWh) | Specific Energy (kWh/kWp) | Loss Due to Export Limitation (kWh) | Loss Due to Export Limitation(€) | Self-consumption (kWh) | Peak Power (kW) | Performance Ratio(%) | CO₂ Avoided (t) | Standard Coal Saved (t) | Charge (kWh) | Discharge (kWh) | Revenue (€)
2026-06-01 | 31.28 |  |  |  |  | 183.96 | 183.96 | 33382.93 | 5.881 |  |  |  | 23.132 |  | 0.087 | 0.074 |  |  | 12.87
2026-06-02 | 31.28 |  |  |  |  | 161.48 | 161.48 | 33544.41 | 5.162 |  |  |  | 23.058 |  | 0.077 | 0.065 |  |  | 11.31
2026-06-03 | 31.28 |  |  |  |  | 198.48 | 198.48 | 33742.89 | 6.345 |  |  |  | 25.587 |  | 0.094 | 0.079 |  |  | 13.9
2026-06-04 | 31.28 |  |  |  |  | 148.28 | 148.28 | 33891.17 | 4.74 |  |  |  | 25.907 |  | 0.07 | 0.059 |  |  | 10.4
2026-06-05 | 31.28 |  |  |  |  | 165.78 | 165.78 | 34056.95 | 5.3 |  |  |  | 30.858 |  | 0.079 | 0.066 |  |  | 11.59
2026-06-06 | 31.28 |  |  |  |  | 174.79 | 174.79 | 34231.74 | 5.588 |  |  |  | 24.54 |  | 0.083 | 0.07 |  |  | 12.23
2026-06-07 | 31.28 |  |  |  |  | 175.83 | 175.83 | 34407.57 | 5.621 |  |  |  | 26.62 |  | 0.084 | 0.07 |  |  | 12.3
2026-06-08 | 31.28 |  |  |  |  | 176.24 | 176.24 | 34583.81 | 5.634 |  |  |  | 25.565 |  | 0.084 | 0.07 |  |  | 12.34
2026-06-09 | 31.28 |  |  |  |  | 182.69 | 182.69 | 34766.5 | 5.84 |  |  |  | 23.48 |  | 0.087 | 0.073 |  |  | 12.78
2026-06-10 | 31.28 |  |  |  |  | 196.42 | 196.42 | 34962.92 | 6.279 |  |  |  | 25.088 |  | 0.093 | 0.079 |  |  | 13.74
2026-06-11 | 31.28 |  |  |  |  | 188.97 | 188.97 | 35151.89 | 6.041 |  |  |  | 24.645 |  | 0.09 | 0.076 |  |  | 13.24
2026-06-12 | 31.28 |  |  |  |  | 192.11 | 192.11 | 35344 | 6.142 |  |  |  | 23.695 |  | 0.091 | 0.077 |  |  | 13.46
2026-06-13 | 31.28 |  |  |  |  | 182.66 | 182.66 | 35526.66 | 5.84 |  |  |  | 23.942 |  | 0.087 | 0.073 |  |  | 12.79
2026-06-14 | 31.28 |  |  |  |  | 177.8 | 177.8 | 35704.46 | 5.684 |  |  |  | 23.757 |  | 0.084 | 0.071 |  |  | 12.43
2026-06-15 | 31.28 |  |  |  |  | 180.17 | 180.17 | 35884.63 | 5.76 |  |  |  | 22.46 |  | 0.086 | 0.072 |  |  | 12.6
2026-06-16 | 31.28 |  |  |  |  | 179.18 | 179.18 | 36063.81 | 5.728 |  |  |  | 22.504 |  | 0.085 | 0.072 |  |  | 12.55
2026-06-17 | 31.28 |  |  |  |  | 179.72 | 179.72 | 36243.53 | 5.746 |  |  |  | 22.239 |  | 0.085 | 0.072 |  |  | 12.6
2026-06-18 | 31.28 |  |  |  |  | 183.3 | 183.3 | 36426.83 | 5.86 |  |  |  | 22.672 |  | 0.087 | 0.073 |  |  | 12.86
2026-06-19 | 31.28 |  |  |  |  | 176.59 | 176.59 | 36603.42 | 5.645 |  |  |  | 25.63 |  | 0.084 | 0.071 |  |  | 12.34
2026-06-20 | 31.28 |  |  |  |  | 172.46 | 172.46 | 36775.88 | 5.513 |  |  |  | 23.836 |  | 0.082 | 0.069 |  |  | 12.09
2026-06-21 | 31.28 |  |  |  |  | 171.6 | 171.6 | 36947.48 | 5.486 |  |  |  | 21.258 |  | 0.082 | 0.069 |  |  | 12.02
2026-06-22 | 31.28 |  |  |  |  | 175.73 | 175.73 | 37123.21 | 5.618 |  |  |  | 21.435 |  | 0.083 | 0.07 |  |  | 12.31
2026-06-23 | 31.28 |  |  |  |  | 171.36 | 171.36 | 37294.57 | 5.478 |  |  |  | 21.521 |  | 0.081 | 0.069 |  |  | 11.99
2026-06-24 | 31.28 |  |  |  |  | 174.48 | 174.48 | 37469.05 | 5.578 |  |  |  | 22.142 |  | 0.083 | 0.07 |  |  | 12.2
2026-06-25 | 31.28 |  |  |  |  | 176.6 | 176.6 | 37645.65 | 5.646 |  |  |  | 21.918 |  | 0.084 | 0.071 |  |  | 12.35
2026-06-26 | 31.28 |  |  |  |  | 179.3 | 179.3 | 37824.95 | 5.732 |  |  |  | 22.05 |  | 0.085 | 0.072 |  |  | 12.56
2026-06-27 | 31.28 |  |  |  |  | 177.69 | 177.69 | 38002.64 | 5.681 |  |  |  | 21.933 |  | 0.084 | 0.071 |  |  | 12.44
2026-06-28 | 31.28 |  |  |  |  | 144.04 | 144.04 | 38146.68 | 4.605 |  |  |  | 28.045 |  | 0.068 | 0.058 |  |  | 10.08
2026-06-29 | 31.28 |  |  |  |  | 178.59 | 178.59 | 38325.27 | 5.709 |  |  |  | 22.354 |  | 0.085 | 0.071 |  |  | 12.51
2026-06-30 | 31.28 |  |  |  |  | 176.92 | 176.92 | 38502.19 | 5.656 |  |  |  | 24.432 |  | 0.084 | 0.071 |  |  | 12.4

## JULIOL
Plant Report_AJUNTAMENT DE CORBINS
Statistical Period | Total String Capacity (kWp) | Global Irradiation (kWh/㎡) | Sun Hours (H) | Average Temperature(°C) | Theoretical Yield (kWh) | PV Yield (kWh) | Inverter Yield (kWh) | Total Yield (kWh) | Specific Energy (kWh/kWp) | Loss Due to Export Limitation (kWh) | Loss Due to Export Limitation(€) | Self-consumption (kWh) | Peak Power (kW) | Performance Ratio(%) | CO₂ Avoided (t) | Standard Coal Saved (t) | Charge (kWh) | Discharge (kWh) | Revenue (€)
2026-07-01 | 31.28 |  |  |  |  | 180.45 | 180.45 | 38682.64 | 5.769 |  |  |  | 22.907 |  | 0.086 | 0.072 |  |  | 12.65
2026-07-02 | 31.28 |  |  |  |  | 185.51 | 185.51 | 38868.15 | 5.931 |  |  |  | 23.247 |  | 0.088 | 0.074 |  |  | 13.01
2026-07-03 | 31.28 |  |  |  |  | 183.09 | 183.09 | 39051.24 | 5.853 |  |  |  | 22.901 |  | 0.087 | 0.073 |  |  | 12.82
2026-07-04 | 31.28 |  |  |  |  | 180.71 | 180.71 | 39231.95 | 5.777 |  |  |  | 22.716 |  | 0.086 | 0.072 |  |  | 12.65
2026-07-05 | 31.28 |  |  |  |  | 177.31 | 177.31 | 39409.26 | 5.668 |  |  |  | 22.112 |  | 0.084 | 0.071 |  |  | 12.42
2026-07-06 | 31.28 |  |  |  |  | 177.71 | 177.71 | 39586.97 | 5.681 |  |  |  | 21.885 |  | 0.084 | 0.071 |  |  | 12.44
2026-07-07 | 31.28 |  |  |  |  | 170.44 | 170.44 | 39757.41 | 5.449 |  |  |  | 21.275 |  | 0.081 | 0.068 |  |  | 11.93
2026-07-08 | 31.28 |  |  |  |  | 167.14 | 167.14 | 39924.55 | 5.343 |  |  |  | 21.197 |  | 0.079 | 0.067 |  |  | 11.71
2026-07-09 | 31.28 |  |  |  |  | 165.25 | 165.25 | 40089.8 | 5.283 |  |  |  | 21.144 |  | 0.078 | 0.066 |  |  | 11.57
2026-07-10 | 31.28 |  |  |  |  | 132.77 | 132.77 | 40222.57 | 4.245 |  |  |  | 26.005 |  | 0.063 | 0.053 |  |  | 9.29
2026-07-11 | 31.28 |  |  |  |  | 169.25 | 169.25 | 40391.82 | 5.411 |  |  |  | 21.603 |  | 0.08 | 0.068 |  |  | 11.85
2026-07-12 | 31.28 |  |  |  |  | 114.8 | 114.8 | 40506.62 | 3.67 |  |  |  | 25.097 |  | 0.055 | 0.046 |  |  | 8.04
2026-07-13 | 31.28 |  |  |  |  | 153.27 | 153.27 | 40659.89 | 4.9 |  |  |  | 23.865 |  | 0.073 | 0.061 |  |  | 10.73
2026-07-14 | 31.28 |  |  |  |  | 156.78 | 156.78 | 40816.67 | 5.012 |  |  |  | 20.634 |  | 0.074 | 0.063 |  |  | 10.98
2026-07-15 | 31.28 |  |  |  |  | 123.35 | 123.35 | 40940.02 | 3.943 |  |  |  | 23.892 |  | 0.059 | 0.049 |  |  | 8.65
2026-07-16 | 31.28 |  |  |  |  | 99.04 | 99.04 | 41039.06 | 3.166 |  |  |  | 23.847 |  | 0.047 | 0.04 |  |  | 6.95
2026-07-17 | 31.28 |  |  |  |  | 163.58 | 163.58 | 41202.64 | 5.23 |  |  |  | 21.386 |  | 0.078 | 0.065 |  |  | 11.45
2026-07-18 | 31.28 |  |  |  |  | 150.1 | 150.1 | 41352.74 | 4.799 |  |  |  | 20.165 |  | 0.071 | 0.06 |  |  | 10.52
2026-07-19 | 31.28 |  |  |  |  | 154.09 | 154.09 | 41506.83 | 4.926 |  |  |  | 20.443 |  | 0.073 | 0.062 |  |  | 10.8
2026-07-20 | 31.28 |  |  |  |  | 153.38 | 153.38 | 41660.21 | 4.903 |  |  |  | 20.077 |  | 0.073 | 0.061 |  |  | 10.74
2026-07-21 | 31.28 |  |  |  |  | 150.65 | 150.65 | 41810.86 | 4.816 |  |  |  | 20.307 |  | 0.072 | 0.06 |  |  | 10.53
2026-07-22 | 31.28 |  |  |  |  | 145.16 | 145.16 | 41956.02 | 4.641 |  |  |  | 21.696 |  | 0.069 | 0.058 |  |  | 10.17
2026-07-23 | 31.28 |  |  |  |  | 159.41 | 159.41 | 42115.43 | 5.096 |  |  |  | 20.674 |  | 0.076 | 0.064 |  |  | 11.15
2026-07-24 | 31.28 |  |  |  |  | 147.23 | 147.23 | 42262.66 | 4.707 |  |  |  | 19.319 |  | 0.07 | 0.059 |  |  | 10.32
2026-07-25 | 31.28 |  |  |  |  | 151.08 | 151.08 | 42413.74 | 4.83 |  |  |  | 21.029 |  | 0.072 | 0.06 |  |  | 10.58
2026-07-26 | 31.28 |  |  |  |  | 156.02 | 156.02 | 42569.76 | 4.988 |  |  |  | 21.027 |  | 0.074 | 0.062 |  |  | 10.94
2026-07-27 | 31.28 |  |  |  |  | 160.32 | 160.32 | 42730.08 | 5.125 |  |  |  | 21.002 |  | 0.076 | 0.064 |  |  | 11.23
2026-07-28 | 31.28 |  |  |  |  | 153.91 | 153.91 | 42883.99 | 4.92 |  |  |  | 20.001 |  | 0.073 | 0.062 |  |  | 10.77
2026-07-29 | 31.28 |  |  |  |  | 146.6 | 146.6 | 43030.59 | 4.687 |  |  |  | 19.379 |  | 0.07 | 0.059 |  |  | 10.27
2026-07-30 | 31.28 |  |  |  |  | 147.83 | 147.83 | 43178.42 | 4.726 |  |  |  | 19.498 |  | 0.07 | 0.059 |  |  | 10.35
2026-07-31 | 31.28 |  |  |  |  | 138.82 | 138.82 | 43317.24 | 4.438 |  |  |  | 21.449 |  | 0.066 | 0.056 |  |  | 9.71

## AGOST
Plant Report_AJUNTAMENT DE CORBINS
Statistical Period | Total String Capacity (kWp) | Global Irradiation (kWh/㎡) | Sun Hours (H) | Average Temperature(°C) | Theoretical Yield (kWh) | PV Yield (kWh) | Inverter Yield (kWh) | Total Yield (kWh) | Specific Energy (kWh/kWp) | Loss Due to Export Limitation (kWh) | Loss Due to Export Limitation(€) | Self-consumption (kWh) | Peak Power (kW) | Performance Ratio(%) | CO₂ Avoided (t) | Standard Coal Saved (t) | Charge (kWh) | Discharge (kWh) | Revenue (€)
2026-08-01 | 31.28 |  |  |  |  | 147.36 | 147.36 | 43464.6 | 4.711 |  |  |  | 19.439 |  | 0.07 | 0.059 |  |  | 10.32
2026-08-02 | 31.28 |  |  |  |  | 145.32 | 145.32 | 43609.92 | 4.646 |  |  |  | 19.329 |  | 0.069 | 0.058 |  |  | 10.18
2026-08-03 | 31.28 |  |  |  |  | 93.27 | 93.27 | 43703.19 | 2.982 |  |  |  | 20.163 |  | 0.044 | 0.037 |  |  | 6.51
2026-08-04 | 31.28 |  |  |  |  | 148.55 | 148.55 | 43851.74 | 4.749 |  |  |  | 19.732 |  | 0.071 | 0.059 |  |  | 10.4
2026-08-05 | 31.28 |  |  |  |  | 146.77 | 146.77 | 43998.51 | 4.692 |  |  |  | 19.544 |  | 0.07 | 0.059 |  |  | 10.26
2026-08-06 | 31.28 |  |  |  |  | 146.78 | 146.78 | 44145.29 | 4.692 |  |  |  | 19.535 |  | 0.07 | 0.059 |  |  | 10.28
2026-08-07 | 31.28 |  |  |  |  | 150.61 | 150.61 | 44295.9 | 4.815 |  |  |  | 20.015 |  | 0.072 | 0.06 |  |  | 10.54
2026-08-08 | 31.28 |  |  |  |  | 112.18 | 112.18 | 44408.08 | 3.586 |  |  |  | 23.633 |  | 0.053 | 0.045 |  |  | 7.84
2026-08-09 | 31.28 |  |  |  |  | 147.25 | 147.25 | 44555.33 | 4.707 |  |  |  | 21.814 |  | 0.07 | 0.059 |  |  | 10.31
2026-08-10 | 31.28 |  |  |  |  | 140.28 | 140.28 | 44695.61 | 4.485 |  |  |  | 25.006 |  | 0.067 | 0.056 |  |  | 9.83
2026-08-11 | 31.28 |  |  |  |  | 161.41 | 161.41 | 44857.02 | 5.16 |  |  |  | 21.444 |  | 0.077 | 0.065 |  |  | 11.3
2026-08-12 | 31.28 |  |  |  |  | 159.88 | 159.88 | 45016.9 | 5.111 |  |  |  | 21.331 |  | 0.076 | 0.064 |  |  | 11.17
2026-08-13 | 31.28 |  |  |  |  | 152.25 | 152.25 | 45169.15 | 4.867 |  |  |  | 20.832 |  | 0.072 | 0.061 |  |  | 10.67
2026-08-14 | 31.28 |  |  |  |  | 148.52 | 148.52 | 45317.67 | 4.748 |  |  |  | 22.687 |  | 0.071 | 0.059 |  |  | 10.41
2026-08-15 | 31.28 |  |  |  |  | 98.27 | 98.27 | 45415.94 | 3.142 |  |  |  | 29.421 |  | 0.047 | 0.039 |  |  | 6.87
2026-08-16 | 31.28 |  |  |  |  | 160.41 | 160.41 | 45576.35 | 5.128 |  |  |  | 22.746 |  | 0.076 | 0.064 |  |  | 11.23
2026-08-17 | 31.28 |  |  |  |  | 157.67 | 157.67 | 45734.02 | 5.041 |  |  |  | 21.949 |  | 0.075 | 0.063 |  |  | 11.05
2026-08-18 | 31.28 |  |  |  |  | 165.85 | 165.85 | 45899.87 | 5.302 |  |  |  | 22.313 |  | 0.079 | 0.066 |  |  | 11.61
2026-08-19 | 31.28 |  |  |  |  | 158.39 | 158.39 | 46058.26 | 5.064 |  |  |  | 21.465 |  | 0.075 | 0.063 |  |  | 11.07
2026-08-20 | 31.28 |  |  |  |  | 133.93 | 133.93 | 46192.19 | 4.282 |  |  |  | 23.687 |  | 0.064 | 0.054 |  |  | 9.38
2026-08-21 | 31.28 |  |  |  |  | 146.66 | 146.66 | 46338.85 | 4.689 |  |  |  | 25.518 |  | 0.07 | 0.059 |  |  | 10.27
2026-08-22 | 31.28 |  |  |  |  | 124.37 | 124.37 | 46463.22 | 3.976 |  |  |  | 27.59 |  | 0.059 | 0.05 |  |  | 8.68
2026-08-23 | 31.28 |  |  |  |  | 139.42 | 139.42 | 46602.64 | 4.457 |  |  |  | 21.994 |  | 0.066 | 0.056 |  |  | 9.77
2026-08-24 | 31.28 |  |  |  |  | 94.71 | 94.71 | 46697.35 | 3.028 |  |  |  | 29.705 |  | 0.045 | 0.038 |  |  | 6.63
2026-08-25 | 31.28 |  |  |  |  | 163.75 | 163.75 | 46861.1 | 5.235 |  |  |  | 25.742 |  | 0.078 | 0.066 |  |  | 11.46
2026-08-26 | 31.28 |  |  |  |  | 129.11 | 129.11 | 46990.21 | 4.128 |  |  |  | 26.429 |  | 0.061 | 0.052 |  |  | 9.05
2026-08-27 | 31.28 |  |  |  |  | 155.76 | 155.76 | 47145.97 | 4.98 |  |  |  | 21.982 |  | 0.074 | 0.062 |  |  | 10.89
2026-08-28 | 31.28 |  |  |  |  | 158.81 | 158.81 | 47304.78 | 5.077 |  |  |  | 24.924 |  | 0.075 | 0.064 |  |  | 11.12
2026-08-29 | 31.28 |  |  |  |  | 0.08 | 0.08 | 47304.86 | 0.003 |  |  |  | 0.413 |  | 0 | 0 |  |  | 0.01
2026-08-30
2026-08-31 | 31.28 |  |  |  |  | 3.1 | 3.1 | 47630.97 | 0.099 |  |  |  | 6.577 |  | 0.001 | 0.001 |  |  | 0.11